## FI
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI
X1 | A1 | 1022,0 | 91,0 | 19948,0 | 20222,0 | 91,5 | 61,0 | 230,0 | 70,0 | 118,0 | 107,0 | 63,0 | 107,0 | 108,0 | 24,0 | 118,0 | 30,0 | 3447,5 | 735,5
X2 | B1 | 777,0 | 72,0 | 19800,0 | 20095,0 | 77,0 | 55,0 | 197,0 | 59,0 | 104,0 | 92,0 | 54,0 | 87,0 | 62,0 | 23,5 | 92,0 | 27,0 | 3203,0 | 696,0
X3 | C1 | 421,0 | 56,0 | 16960,5 | 17559,0 | 59,0 | 47,0 | 127,0 | 45,0 | 73,5 | 72,0 | 41,5 | 63,0 | 39,0 | 23,0 | 72,0 | 26,0 | 2250,0 | 457,0
X4 | D1 | 1524,5 | 26,0 | 58,0 | 68,0 | 52,0 | 37,0 | 3235,0 | 2937,0 | 26,0 | 59,0 | 43,0 | 50,5 | 80,5 | 3103,0 | 72,0 | 25,0 | 152,0 | 59,0
X5 | E1 | 753,0 | 22,0 | 48,0 | 32,0 | 29,0 | 36,0 | 1157,0 | 946,0 | 23,0 | 37,0 | 27,0 | 29,0 | 23,0 | 695,5 | 43,0 | 22,0 | 64,0 | 35,0
X6 | F1 | 251,0 | 21,0 | 46,0 | 24,5 | 24,0 | 35,0 | 286,0 | 232,0 | 23,0 | 33,0 | 23,5 | 26,0 | 13,0 | 145,0 | 37,0 | 22,0 | 36,0 | 28,0
X7 | G1 | 189,0 | 56,0 | 3267,0 | 10941,5 | 12245,0 | 10100,5 | 15550,0 | 587,0 | 4891,5 | 2092,0 | 111,5 | 1958,0 | 15743,0 | 27,0 | 2142,5 | 571,5 | 735,5 | 754,5
X8 | H1 | 89,0 | 38,0 | 1199,0 | 4509,0 | 4417,5 | 3949,0 | 10953,0 | 154,5 | 1661,5 | 1043,0 | 58,0 | 747,0 | 8084,0 | 24,0 | 620,0 | 166,0 | 401,5 | 413,5
X9 | A2 | 51,0 | 24,0 | 362,0 | 1348,0 | 1168,0 | 1040,5 | 4352,5 | 55,0 | 447,0 | 358,0 | 32,0 | 231,0 | 2593,0 | 23,0 | 175,5 | 55,0 | 144,0 | 142,0
X10 | B2 | 37,0 | 20,0 | 45,5 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 30,0 | 23,0 | 24,0 | 10,0 | 23,0 | 36,0 | 22,0 | 27,0 | 27,0
X11 | C2 | 655,0 | 75,0 | 47,0 | 31,0 | 7465,0 | 8385,0 | 21,0 | 24,5 | 201,0 | 29,0 | 69,0 | 29,0 | 58,0 | 186,0 | 37,0 | 22,0 | 360,0 | 33,0
X12 | D2 | 532,5 | 71,5 | 46,0 | 27,0 | 6500,5 | 7844,5 | 20,0 | 23,0 | 78,0 | 29,0 | 64,0 | 26,0 | 15,0 | 40,0 | 37,5 | 21,0 | 198,0 | 30,0
X13 | E2 | 433,0 | 74,0 | 44,0 | 24,0 | 2551,0 | 4708,5 | 19,0 | 25,0 | 33,0 | 27,0 | 61,0 | 25,0 | 11,0 | 25,0 | 35,0 | 21,0 | 87,0 | 28,5
X14 | F2 | 254,0 | 69,0 | 45,0 | 21,0 | 26,0 | 35,0 | 18,0 | 22,0 | 21,0 | 28,0 | 63,0 | 25,0 | 10,0 | 22,0 | 35,0 | 21,0 | 29,0 | 27,0
X15 | G2 | 266,5 | 70,0 | 45,0 | 23,0 | 26,0 | 37,0 | 18,5 | 24,0 | 23,0 | 28,0 | 64,5 | 24,0 | 10,0 | 23,0 | 34,0 | 21,0 | 28,0 | 26,0
X16 | H2 | 271,0 | 71,0 | 45,0 | 21,0 | 26,0 | 34,0 | 18,5 | 24,0 | 22,0 | 26,0 | 61,0 | 25,0 | 10,0 | 22,0 | 38,0 | 20,5 | 28,0 | 26,0
X17 | A3 | 1084,5 | 74,0 | 47,0 | 25,0 | 28,0 | 90,0 | 21,0 | 24,0 | 23,0 | 1242,5 | 750,5 | 25,0 | 28,0 | 30,0 | 37,0 | 26,0 | 60,0 | 29,0
X18 | B3 | 531,5 | 72,0 | 45,0 | 23,0 | 26,0 | 39,0 | 20,0 | 24,0 | 23,0 | 500,0 | 320,5 | 24,0 | 12,0 | 22,5 | 36,0 | 23,0 | 37,0 | 27,0
X19 | C3 | 514,0 | 71,0 | 45,0 | 21,0 | 26,0 | 36,0 | 20,0 | 23,0 | 22,0 | 127,0 | 129,0 | 25,0 | 11,0 | 23,0 | 34,0 | 21,0 | 30,0 | 27,0
X20 | D3 | 247,0 | 71,0 | 45,0 | 21,0 | 25,0 | 36,0 | 19,0 | 23,0 | 23,0 | 26,0 | 61,5 | 25,0 | 10,0 | 23,0 | 34,5 | 22,0 | 28,0 | 26,0
X21 | E3 | 296,0 | 69,0 | 46,0 | 22,0 | 25,0 | 36,0 | 19,0 | 23,0 | 21,0 | 27,0 | 63,0 | 24,0 | 10,0 | 23,0 | 35,0 | 20,0 | 29,0 | 27,0
X22 | F3 | 289,0 | 69,0 | 45,0 | 22,0 | 27,0 | 35,0 | 19,0 | 22,0 | 23,0 | 27,0 | 64,0 | 25,0 | 10,0 | 22,0 | 34,0 | 21,0 | 29,0 | 26,0
X23 | G3 | 243,0 | 71,0 | 45,0 | 21,0 | 25,0 | 35,0 | 20,0 | 23,0 | 22,0 | 28,0 | 61,0 | 23,0 | 10,0 | 23,0 | 36,0 | 21,0 | 29,0 | 26,0
X24 | H3 | 38,0 | 20,0 | 43,0 | 22,0 | 25,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 27,0 | 11,0 | 23,0 | 37,0 | 24,0 | 30,0 | 29,0
X25 | A4 | 36,0 | 21,0 | 45,0 | 22,0 | 23,0 | 35,0 | 20,0 | 22,0 | 22,0 | 28,0 | 23,0 | 28,0 | 10,0 | 23,0 | 35,0 | 23,0 | 29,0 | 28,0
X26 | B4 | 36,0 | 19,0 | 46,0 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 29,0 | 10,0 | 24,0 | 38,0 | 24,0 | 29,0 | 28,0
X27 | C4 | 36,0 | 21,0 | 45,0 | 22,0 | 24,0 | 35,0 | 19,0 | 23,0 | 22,0 | 29,0 | 21,0 | 27,0 | 11,0 | 23,0 | 38,0 | 24,0 | 30,0 | 27,0
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI
X1 | A1 | 1022,0 | 91,0 | 19948,0 | 20222,0 | 91,5 | 61,0 | 230,0 | 70,0 | 118,0 | 107,0 | 63,0 | 107,0 | 108,0 | 24,0 | 118,0 | 30,0 | 3447,5 | 735,5
X2 | B1 | 777,0 | 72,0 | 19800,0 | 20095,0 | 77,0 | 55,0 | 197,0 | 59,0 | 104,0 | 92,0 | 54,0 | 87,0 | 62,0 | 23,5 | 92,0 | 27,0 | 3203,0 | 696,0
X3 | C1 | 421,0 | 56,0 | 16960,5 | 17559,0 | 59,0 | 47,0 | 127,0 | 45,0 | 73,5 | 72,0 | 41,5 | 63,0 | 39,0 | 23,0 | 72,0 | 26,0 | 2250,0 | 457,0
X4 | D1 | 1524,5 | 26,0 | 58,0 | 68,0 | 52,0 | 37,0 | 3235,0 | 2937,0 | 26,0 | 59,0 | 43,0 | 50,5 | 80,5 | 3103,0 | 72,0 | 25,0 | 152,0 | 59,0
X5 | E1 | 753,0 | 22,0 | 48,0 | 32,0 | 29,0 | 36,0 | 1157,0 | 946,0 | 23,0 | 37,0 | 27,0 | 29,0 | 23,0 | 695,5 | 43,0 | 22,0 | 64,0 | 35,0
X6 | F1 | 251,0 | 21,0 | 46,0 | 24,5 | 24,0 | 35,0 | 286,0 | 232,0 | 23,0 | 33,0 | 23,5 | 26,0 | 13,0 | 145,0 | 37,0 | 22,0 | 36,0 | 28,0
X7 | G1 | 189,0 | 56,0 | 3267,0 | 10941,5 | 12245,0 | 10100,5 | 15550,0 | 587,0 | 4891,5 | 2092,0 | 111,5 | 1958,0 | 15743,0 | 27,0 | 2142,5 | 571,5 | 735,5 | 754,5
X8 | H1 | 89,0 | 38,0 | 1199,0 | 4509,0 | 4417,5 | 3949,0 | 10953,0 | 154,5 | 1661,5 | 1043,0 | 58,0 | 747,0 | 8084,0 | 24,0 | 620,0 | 166,0 | 401,5 | 413,5
X9 | A2 | 51,0 | 24,0 | 362,0 | 1348,0 | 1168,0 | 1040,5 | 4352,5 | 55,0 | 447,0 | 358,0 | 32,0 | 231,0 | 2593,0 | 23,0 | 175,5 | 55,0 | 144,0 | 142,0
X10 | B2 | 37,0 | 20,0 | 45,5 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 30,0 | 23,0 | 24,0 | 10,0 | 23,0 | 36,0 | 22,0 | 27,0 | 27,0
X11 | C2 | 655,0 | 75,0 | 47,0 | 31,0 | 7465,0 | 8385,0 | 21,0 | 24,5 | 201,0 | 29,0 | 69,0 | 29,0 | 58,0 | 186,0 | 37,0 | 22,0 | 360,0 | 33,0
X12 | D2 | 532,5 | 71,5 | 46,0 | 27,0 | 6500,5 | 7844,5 | 20,0 | 23,0 | 78,0 | 29,0 | 64,0 | 26,0 | 15,0 | 40,0 | 37,5 | 21,0 | 198,0 | 30,0
X13 | E2 | 433,0 | 74,0 | 44,0 | 24,0 | 2551,0 | 4708,5 | 19,0 | 25,0 | 33,0 | 27,0 | 61,0 | 25,0 | 11,0 | 25,0 | 35,0 | 21,0 | 87,0 | 28,5
X14 | F2 | 254,0 | 69,0 | 45,0 | 21,0 | 26,0 | 35,0 | 18,0 | 22,0 | 21,0 | 28,0 | 63,0 | 25,0 | 10,0 | 22,0 | 35,0 | 21,0 | 29,0 | 27,0
X15 | G2 | 266,5 | 70,0 | 45,0 | 23,0 | 26,0 | 37,0 | 18,5 | 24,0 | 23,0 | 28,0 | 64,5 | 24,0 | 10,0 | 23,0 | 34,0 | 21,0 | 28,0 | 26,0
X16 | H2 | 271,0 | 71,0 | 45,0 | 21,0 | 26,0 | 34,0 | 18,5 | 24,0 | 22,0 | 26,0 | 61,0 | 25,0 | 10,0 | 22,0 | 38,0 | 20,5 | 28,0 | 26,0
X17 | A3 | 1084,5 | 74,0 | 47,0 | 25,0 | 28,0 | 90,0 | 21,0 | 24,0 | 23,0 | 1242,5 | 750,5 | 25,0 | 28,0 | 30,0 | 37,0 | 26,0 | 60,0 | 29,0
X18 | B3 | 531,5 | 72,0 | 45,0 | 23,0 | 26,0 | 39,0 | 20,0 | 24,0 | 23,0 | 500,0 | 320,5 | 24,0 | 12,0 | 22,5 | 36,0 | 23,0 | 37,0 | 27,0
X19 | C3 | 514,0 | 71,0 | 45,0 | 21,0 | 26,0 | 36,0 | 20,0 | 23,0 | 22,0 | 127,0 | 129,0 | 25,0 | 11,0 | 23,0 | 34,0 | 21,0 | 30,0 | 27,0
X20 | D3 | 247,0 | 71,0 | 45,0 | 21,0 | 25,0 | 36,0 | 19,0 | 23,0 | 23,0 | 26,0 | 61,5 | 25,0 | 10,0 | 23,0 | 34,5 | 22,0 | 28,0 | 26,0
X21 | E3 | 296,0 | 69,0 | 46,0 | 22,0 | 25,0 | 36,0 | 19,0 | 23,0 | 21,0 | 27,0 | 63,0 | 24,0 | 10,0 | 23,0 | 35,0 | 20,0 | 29,0 | 27,0
X22 | F3 | 289,0 | 69,0 | 45,0 | 22,0 | 27,0 | 35,0 | 19,0 | 22,0 | 23,0 | 27,0 | 64,0 | 25,0 | 10,0 | 22,0 | 34,0 | 21,0 | 29,0 | 26,0
X23 | G3 | 243,0 | 71,0 | 45,0 | 21,0 | 25,0 | 35,0 | 20,0 | 23,0 | 22,0 | 28,0 | 61,0 | 23,0 | 10,0 | 23,0 | 36,0 | 21,0 | 29,0 | 26,0
X24 | H3 | 38,0 | 20,0 | 43,0 | 22,0 | 25,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 27,0 | 11,0 | 23,0 | 37,0 | 24,0 | 30,0 | 29,0
X25 | A4 | 36,0 | 21,0 | 45,0 | 22,0 | 23,0 | 35,0 | 20,0 | 22,0 | 22,0 | 28,0 | 23,0 | 28,0 | 10,0 | 23,0 | 35,0 | 23,0 | 29,0 | 28,0
X26 | B4 | 36,0 | 19,0 | 46,0 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 29,0 | 10,0 | 24,0 | 38,0 | 24,0 | 29,0 | 28,0
X27 | C4 | 36,0 | 21,0 | 45,0 | 22,0 | 24,0 | 35,0 | 19,0 | 23,0 | 22,0 | 29,0 | 21,0 | 27,0 | 11,0 | 23,0 | 38,0 | 24,0 | 30,0 | 27,0
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## FI - Bkgd
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd
X1 | A1 | 1022,0 | 91,0 | 19948,0 | 20222,0 | 91,5 | 61,0 | 230,0 | 70,0 | 118,0 | 107,0 | 63,0 | 107,0 | 108,0 | 24,0 | 118,0 | 30,0 | 3447,5 | 735,5
X2 | B1 | 777,0 | 72,0 | 19800,0 | 20095,0 | 77,0 | 55,0 | 197,0 | 59,0 | 104,0 | 92,0 | 54,0 | 87,0 | 62,0 | 23,5 | 92,0 | 27,0 | 3203,0 | 696,0
X3 | C1 | 421,0 | 56,0 | 16960,5 | 17559,0 | 59,0 | 47,0 | 127,0 | 45,0 | 73,5 | 72,0 | 41,5 | 63,0 | 39,0 | 23,0 | 72,0 | 26,0 | 2250,0 | 457,0
X4 | D1 | 1524,5 | 26,0 | 58,0 | 68,0 | 52,0 | 37,0 | 3235,0 | 2937,0 | 26,0 | 59,0 | 43,0 | 50,5 | 80,5 | 3103,0 | 72,0 | 25,0 | 152,0 | 59,0
X5 | E1 | 753,0 | 22,0 | 48,0 | 32,0 | 29,0 | 36,0 | 1157,0 | 946,0 | 23,0 | 37,0 | 27,0 | 29,0 | 23,0 | 695,5 | 43,0 | 22,0 | 64,0 | 35,0
X6 | F1 | 251,0 | 21,0 | 46,0 | 24,5 | 24,0 | 35,0 | 286,0 | 232,0 | 23,0 | 33,0 | 23,5 | 26,0 | 13,0 | 145,0 | 37,0 | 22,0 | 36,0 | 28,0
X7 | G1 | 189,0 | 56,0 | 3267,0 | 10941,5 | 12245,0 | 10100,5 | 15550,0 | 587,0 | 4891,5 | 2092,0 | 111,5 | 1958,0 | 15743,0 | 27,0 | 2142,5 | 571,5 | 735,5 | 754,5
X8 | H1 | 89,0 | 38,0 | 1199,0 | 4509,0 | 4417,5 | 3949,0 | 10953,0 | 154,5 | 1661,5 | 1043,0 | 58,0 | 747,0 | 8084,0 | 24,0 | 620,0 | 166,0 | 401,5 | 413,5
X9 | A2 | 51,0 | 24,0 | 362,0 | 1348,0 | 1168,0 | 1040,5 | 4352,5 | 55,0 | 447,0 | 358,0 | 32,0 | 231,0 | 2593,0 | 23,0 | 175,5 | 55,0 | 144,0 | 142,0
X10 | B2 | 37,0 | 20,0 | 45,5 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 30,0 | 23,0 | 24,0 | 10,0 | 23,0 | 36,0 | 22,0 | 27,0 | 27,0
X11 | C2 | 655,0 | 75,0 | 47,0 | 31,0 | 7465,0 | 8385,0 | 21,0 | 24,5 | 201,0 | 29,0 | 69,0 | 29,0 | 58,0 | 186,0 | 37,0 | 22,0 | 360,0 | 33,0
X12 | D2 | 532,5 | 71,5 | 46,0 | 27,0 | 6500,5 | 7844,5 | 20,0 | 23,0 | 78,0 | 29,0 | 64,0 | 26,0 | 15,0 | 40,0 | 37,5 | 21,0 | 198,0 | 30,0
X13 | E2 | 433,0 | 74,0 | 44,0 | 24,0 | 2551,0 | 4708,5 | 19,0 | 25,0 | 33,0 | 27,0 | 61,0 | 25,0 | 11,0 | 25,0 | 35,0 | 21,0 | 87,0 | 28,5
X14 | F2 | 254,0 | 69,0 | 45,0 | 21,0 | 26,0 | 35,0 | 18,0 | 22,0 | 21,0 | 28,0 | 63,0 | 25,0 | 10,0 | 22,0 | 35,0 | 21,0 | 29,0 | 27,0
X15 | G2 | 266,5 | 70,0 | 45,0 | 23,0 | 26,0 | 37,0 | 18,5 | 24,0 | 23,0 | 28,0 | 64,5 | 24,0 | 10,0 | 23,0 | 34,0 | 21,0 | 28,0 | 26,0
X16 | H2 | 271,0 | 71,0 | 45,0 | 21,0 | 26,0 | 34,0 | 18,5 | 24,0 | 22,0 | 26,0 | 61,0 | 25,0 | 10,0 | 22,0 | 38,0 | 20,5 | 28,0 | 26,0
X17 | A3 | 1084,5 | 74,0 | 47,0 | 25,0 | 28,0 | 90,0 | 21,0 | 24,0 | 23,0 | 1242,5 | 750,5 | 25,0 | 28,0 | 30,0 | 37,0 | 26,0 | 60,0 | 29,0
X18 | B3 | 531,5 | 72,0 | 45,0 | 23,0 | 26,0 | 39,0 | 20,0 | 24,0 | 23,0 | 500,0 | 320,5 | 24,0 | 12,0 | 22,5 | 36,0 | 23,0 | 37,0 | 27,0
X19 | C3 | 514,0 | 71,0 | 45,0 | 21,0 | 26,0 | 36,0 | 20,0 | 23,0 | 22,0 | 127,0 | 129,0 | 25,0 | 11,0 | 23,0 | 34,0 | 21,0 | 30,0 | 27,0
X20 | D3 | 247,0 | 71,0 | 45,0 | 21,0 | 25,0 | 36,0 | 19,0 | 23,0 | 23,0 | 26,0 | 61,5 | 25,0 | 10,0 | 23,0 | 34,5 | 22,0 | 28,0 | 26,0
X21 | E3 | 296,0 | 69,0 | 46,0 | 22,0 | 25,0 | 36,0 | 19,0 | 23,0 | 21,0 | 27,0 | 63,0 | 24,0 | 10,0 | 23,0 | 35,0 | 20,0 | 29,0 | 27,0
X22 | F3 | 289,0 | 69,0 | 45,0 | 22,0 | 27,0 | 35,0 | 19,0 | 22,0 | 23,0 | 27,0 | 64,0 | 25,0 | 10,0 | 22,0 | 34,0 | 21,0 | 29,0 | 26,0
X23 | G3 | 243,0 | 71,0 | 45,0 | 21,0 | 25,0 | 35,0 | 20,0 | 23,0 | 22,0 | 28,0 | 61,0 | 23,0 | 10,0 | 23,0 | 36,0 | 21,0 | 29,0 | 26,0
X24 | H3 | 38,0 | 20,0 | 43,0 | 22,0 | 25,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 27,0 | 11,0 | 23,0 | 37,0 | 24,0 | 30,0 | 29,0
X25 | A4 | 36,0 | 21,0 | 45,0 | 22,0 | 23,0 | 35,0 | 20,0 | 22,0 | 22,0 | 28,0 | 23,0 | 28,0 | 10,0 | 23,0 | 35,0 | 23,0 | 29,0 | 28,0
X26 | B4 | 36,0 | 19,0 | 46,0 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 29,0 | 10,0 | 24,0 | 38,0 | 24,0 | 29,0 | 28,0
X27 | C4 | 36,0 | 21,0 | 45,0 | 22,0 | 24,0 | 35,0 | 19,0 | 23,0 | 22,0 | 29,0 | 21,0 | 27,0 | 11,0 | 23,0 | 38,0 | 24,0 | 30,0 | 27,0
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd
X1 | A1 | 1022,0 | 91,0 | 19948,0 | 20222,0 | 91,5 | 61,0 | 230,0 | 70,0 | 118,0 | 107,0 | 63,0 | 107,0 | 108,0 | 24,0 | 118,0 | 30,0 | 3447,5 | 735,5
X2 | B1 | 777,0 | 72,0 | 19800,0 | 20095,0 | 77,0 | 55,0 | 197,0 | 59,0 | 104,0 | 92,0 | 54,0 | 87,0 | 62,0 | 23,5 | 92,0 | 27,0 | 3203,0 | 696,0
X3 | C1 | 421,0 | 56,0 | 16960,5 | 17559,0 | 59,0 | 47,0 | 127,0 | 45,0 | 73,5 | 72,0 | 41,5 | 63,0 | 39,0 | 23,0 | 72,0 | 26,0 | 2250,0 | 457,0
X4 | D1 | 1524,5 | 26,0 | 58,0 | 68,0 | 52,0 | 37,0 | 3235,0 | 2937,0 | 26,0 | 59,0 | 43,0 | 50,5 | 80,5 | 3103,0 | 72,0 | 25,0 | 152,0 | 59,0
X5 | E1 | 753,0 | 22,0 | 48,0 | 32,0 | 29,0 | 36,0 | 1157,0 | 946,0 | 23,0 | 37,0 | 27,0 | 29,0 | 23,0 | 695,5 | 43,0 | 22,0 | 64,0 | 35,0
X6 | F1 | 251,0 | 21,0 | 46,0 | 24,5 | 24,0 | 35,0 | 286,0 | 232,0 | 23,0 | 33,0 | 23,5 | 26,0 | 13,0 | 145,0 | 37,0 | 22,0 | 36,0 | 28,0
X7 | G1 | 189,0 | 56,0 | 3267,0 | 10941,5 | 12245,0 | 10100,5 | 15550,0 | 587,0 | 4891,5 | 2092,0 | 111,5 | 1958,0 | 15743,0 | 27,0 | 2142,5 | 571,5 | 735,5 | 754,5
X8 | H1 | 89,0 | 38,0 | 1199,0 | 4509,0 | 4417,5 | 3949,0 | 10953,0 | 154,5 | 1661,5 | 1043,0 | 58,0 | 747,0 | 8084,0 | 24,0 | 620,0 | 166,0 | 401,5 | 413,5
X9 | A2 | 51,0 | 24,0 | 362,0 | 1348,0 | 1168,0 | 1040,5 | 4352,5 | 55,0 | 447,0 | 358,0 | 32,0 | 231,0 | 2593,0 | 23,0 | 175,5 | 55,0 | 144,0 | 142,0
X10 | B2 | 37,0 | 20,0 | 45,5 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 30,0 | 23,0 | 24,0 | 10,0 | 23,0 | 36,0 | 22,0 | 27,0 | 27,0
X11 | C2 | 655,0 | 75,0 | 47,0 | 31,0 | 7465,0 | 8385,0 | 21,0 | 24,5 | 201,0 | 29,0 | 69,0 | 29,0 | 58,0 | 186,0 | 37,0 | 22,0 | 360,0 | 33,0
X12 | D2 | 532,5 | 71,5 | 46,0 | 27,0 | 6500,5 | 7844,5 | 20,0 | 23,0 | 78,0 | 29,0 | 64,0 | 26,0 | 15,0 | 40,0 | 37,5 | 21,0 | 198,0 | 30,0
X13 | E2 | 433,0 | 74,0 | 44,0 | 24,0 | 2551,0 | 4708,5 | 19,0 | 25,0 | 33,0 | 27,0 | 61,0 | 25,0 | 11,0 | 25,0 | 35,0 | 21,0 | 87,0 | 28,5
X14 | F2 | 254,0 | 69,0 | 45,0 | 21,0 | 26,0 | 35,0 | 18,0 | 22,0 | 21,0 | 28,0 | 63,0 | 25,0 | 10,0 | 22,0 | 35,0 | 21,0 | 29,0 | 27,0
X15 | G2 | 266,5 | 70,0 | 45,0 | 23,0 | 26,0 | 37,0 | 18,5 | 24,0 | 23,0 | 28,0 | 64,5 | 24,0 | 10,0 | 23,0 | 34,0 | 21,0 | 28,0 | 26,0
X16 | H2 | 271,0 | 71,0 | 45,0 | 21,0 | 26,0 | 34,0 | 18,5 | 24,0 | 22,0 | 26,0 | 61,0 | 25,0 | 10,0 | 22,0 | 38,0 | 20,5 | 28,0 | 26,0
X17 | A3 | 1084,5 | 74,0 | 47,0 | 25,0 | 28,0 | 90,0 | 21,0 | 24,0 | 23,0 | 1242,5 | 750,5 | 25,0 | 28,0 | 30,0 | 37,0 | 26,0 | 60,0 | 29,0
X18 | B3 | 531,5 | 72,0 | 45,0 | 23,0 | 26,0 | 39,0 | 20,0 | 24,0 | 23,0 | 500,0 | 320,5 | 24,0 | 12,0 | 22,5 | 36,0 | 23,0 | 37,0 | 27,0
X19 | C3 | 514,0 | 71,0 | 45,0 | 21,0 | 26,0 | 36,0 | 20,0 | 23,0 | 22,0 | 127,0 | 129,0 | 25,0 | 11,0 | 23,0 | 34,0 | 21,0 | 30,0 | 27,0
X20 | D3 | 247,0 | 71,0 | 45,0 | 21,0 | 25,0 | 36,0 | 19,0 | 23,0 | 23,0 | 26,0 | 61,5 | 25,0 | 10,0 | 23,0 | 34,5 | 22,0 | 28,0 | 26,0
X21 | E3 | 296,0 | 69,0 | 46,0 | 22,0 | 25,0 | 36,0 | 19,0 | 23,0 | 21,0 | 27,0 | 63,0 | 24,0 | 10,0 | 23,0 | 35,0 | 20,0 | 29,0 | 27,0
X22 | F3 | 289,0 | 69,0 | 45,0 | 22,0 | 27,0 | 35,0 | 19,0 | 22,0 | 23,0 | 27,0 | 64,0 | 25,0 | 10,0 | 22,0 | 34,0 | 21,0 | 29,0 | 26,0
X23 | G3 | 243,0 | 71,0 | 45,0 | 21,0 | 25,0 | 35,0 | 20,0 | 23,0 | 22,0 | 28,0 | 61,0 | 23,0 | 10,0 | 23,0 | 36,0 | 21,0 | 29,0 | 26,0
X24 | H3 | 38,0 | 20,0 | 43,0 | 22,0 | 25,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 27,0 | 11,0 | 23,0 | 37,0 | 24,0 | 30,0 | 29,0
X25 | A4 | 36,0 | 21,0 | 45,0 | 22,0 | 23,0 | 35,0 | 20,0 | 22,0 | 22,0 | 28,0 | 23,0 | 28,0 | 10,0 | 23,0 | 35,0 | 23,0 | 29,0 | 28,0
X26 | B4 | 36,0 | 19,0 | 46,0 | 22,0 | 23,0 | 35,0 | 19,0 | 23,0 | 22,0 | 28,0 | 22,0 | 29,0 | 10,0 | 24,0 | 38,0 | 24,0 | 29,0 | 28,0
X27 | C4 | 36,0 | 21,0 | 45,0 | 22,0 | 24,0 | 35,0 | 19,0 | 23,0 | 22,0 | 29,0 | 21,0 | 27,0 | 11,0 | 23,0 | 38,0 | 24,0 | 30,0 | 27,0
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Std Dev
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev
X1 | A1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X2 | B1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X3 | C1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X4 | D1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X5 | E1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X6 | F1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X7 | G1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X8 | H1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X9 | A2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X10 | B2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X11 | C2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X12 | D2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X13 | E2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X14 | F2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X15 | G2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X16 | H2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X17 | A3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X18 | B3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X19 | C3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X20 | D3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X21 | E3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X22 | F3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X23 | G3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X24 | H3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X25 | A4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X26 | B4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X27 | C4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## %CV
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV
X1 | A1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X2 | B1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X3 | C1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X4 | D1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X5 | E1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X6 | F1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X7 | G1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X8 | H1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X9 | A2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X10 | B2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X11 | C2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X12 | D2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X13 | E2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X14 | F2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X15 | G2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X16 | H2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X17 | A3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X18 | B3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X19 | C3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X20 | D3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X21 | E3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X22 | F3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X23 | G3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X24 | H3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X25 | A4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X26 | B4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X27 | C4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Conc in Range
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Obs Conc
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc
X1 | A1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X2 | B1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X3 | C1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X4 | D1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X5 | E1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X6 | F1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X7 | G1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X8 | H1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X9 | A2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X10 | B2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X11 | C2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X12 | D2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X13 | E2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X14 | F2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X15 | G2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X16 | H2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X17 | A3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X18 | B3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X19 | C3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X20 | D3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X21 | E3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X22 | F3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X23 | G3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X24 | H3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X25 | A4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X26 | B4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X27 | C4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc
X1 | A1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X2 | B1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X3 | C1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X4 | D1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X5 | E1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X6 | F1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X7 | G1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X8 | H1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X9 | A2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X10 | B2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X11 | C2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X12 | D2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X13 | E2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X14 | F2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X15 | G2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X16 | H2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X17 | A3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X18 | B3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X19 | C3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X20 | D3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X21 | E3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X22 | F3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X23 | G3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X24 | H3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X25 | A4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X26 | B4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X27 | C4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Exp Conc
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## (Obs Exp) X 100
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Dilution
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution
X1 | A1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X2 | B1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X3 | C1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X4 | D1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X5 | E1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X6 | F1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X7 | G1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X8 | H1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X9 | A2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X10 | B2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X11 | C2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X12 | D2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X13 | E2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X14 | F2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X15 | G2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X16 | H2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X17 | A3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X18 | B3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X19 | C3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X20 | D3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X21 | E3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X22 | F3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X23 | G3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X24 | H3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X25 | A4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X26 | B4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X27 | C4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution
X1 | A1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X2 | B1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X3 | C1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X4 | D1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X5 | E1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X6 | F1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X7 | G1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X8 | H1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X9 | A2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X10 | B2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X11 | C2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X12 | D2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X13 | E2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X14 | F2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X15 | G2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X16 | H2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X17 | A3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X18 | B3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X19 | C3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X20 | D3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X21 | E3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X22 | F3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X23 | G3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X24 | H3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X25 | A4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X26 | B4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X27 | C4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Bead Count
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\PoxLadungskontrolle051022.rbx
Acquisition Date: 05-Okt-2022, 12:43
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 538,95
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | G1
X8 | H1
X9 | A2
X10 | B2
X11 | C2
X12 | D2
X13 | E2
X14 | F2
X15 | G2
X16 | H2
X17 | A3
X18 | B3
X19 | C3
X20 | D3
X21 | E3
X22 | F3
X23 | G3
X24 | H3
X25 | A4
X26 | B4
X27 | C4
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count
X1 | A1 | 279 | 335 | 287 | 340 | 318 | 265 | 254 | 298 | 317 | 311 | 284 | 345 | 279 | 300 | 298 | 227 | 574 | 692
X2 | B1 | 299 | 304 | 264 | 363 | 311 | 291 | 233 | 262 | 293 | 347 | 269 | 303 | 281 | 290 | 281 | 227 | 551 | 647
X3 | C1 | 258 | 331 | 298 | 356 | 331 | 292 | 222 | 280 | 286 | 322 | 290 | 310 | 255 | 289 | 280 | 211 | 611 | 678
X4 | D1 | 262 | 284 | 245 | 315 | 283 | 284 | 215 | 217 | 282 | 300 | 223 | 276 | 274 | 291 | 302 | 223 | 553 | 628
X5 | E1 | 283 | 307 | 260 | 293 | 265 | 251 | 232 | 241 | 272 | 312 | 248 | 265 | 254 | 284 | 269 | 204 | 505 | 582
X6 | F1 | 277 | 307 | 255 | 272 | 284 | 298 | 222 | 227 | 308 | 305 | 262 | 280 | 298 | 317 | 281 | 224 | 533 | 646
X7 | G1 | 233 | 257 | 237 | 266 | 229 | 236 | 188 | 207 | 248 | 271 | 214 | 217 | 239 | 250 | 218 | 206 | 482 | 550
X8 | H1 | 276 | 291 | 253 | 308 | 302 | 265 | 219 | 238 | 312 | 308 | 255 | 301 | 267 | 296 | 308 | 226 | 620 | 670
X9 | A2 | 252 | 279 | 212 | 307 | 298 | 216 | 198 | 256 | 263 | 265 | 256 | 280 | 253 | 276 | 260 | 226 | 537 | 642
X10 | B2 | 240 | 271 | 218 | 304 | 299 | 228 | 184 | 222 | 259 | 261 | 206 | 265 | 244 | 264 | 249 | 163 | 515 | 635
X11 | C2 | 263 | 279 | 232 | 288 | 277 | 261 | 196 | 228 | 273 | 271 | 247 | 266 | 271 | 228 | 243 | 217 | 538 | 581
X12 | D2 | 244 | 252 | 222 | 290 | 258 | 280 | 178 | 191 | 225 | 265 | 210 | 258 | 260 | 256 | 254 | 173 | 493 | 585
X13 | E2 | 232 | 302 | 223 | 259 | 254 | 234 | 194 | 191 | 244 | 271 | 242 | 231 | 247 | 265 | 252 | 175 | 511 | 552
X14 | F2 | 224 | 276 | 200 | 257 | 241 | 193 | 174 | 178 | 255 | 260 | 241 | 250 | 244 | 254 | 211 | 195 | 455 | 530
X15 | G2 | 224 | 245 | 199 | 223 | 216 | 181 | 150 | 184 | 228 | 234 | 200 | 202 | 192 | 233 | 184 | 167 | 485 | 521
X16 | H2 | 219 | 270 | 200 | 245 | 180 | 200 | 190 | 162 | 218 | 252 | 191 | 253 | 209 | 247 | 213 | 184 | 420 | 531
X17 | A3 | 250 | 266 | 200 | 289 | 261 | 215 | 177 | 182 | 256 | 284 | 208 | 246 | 229 | 263 | 199 | 205 | 548 | 601
X18 | B3 | 236 | 239 | 205 | 281 | 246 | 177 | 178 | 144 | 265 | 309 | 228 | 207 | 260 | 234 | 207 | 192 | 517 | 534
X19 | C3 | 242 | 261 | 239 | 280 | 266 | 231 | 193 | 210 | 238 | 281 | 213 | 232 | 231 | 250 | 245 | 195 | 488 | 568
X20 | D3 | 233 | 255 | 226 | 252 | 197 | 204 | 152 | 203 | 264 | 253 | 198 | 224 | 221 | 234 | 196 | 183 | 425 | 524
X21 | E3 | 237 | 239 | 202 | 255 | 232 | 208 | 163 | 166 | 270 | 246 | 202 | 236 | 237 | 281 | 193 | 164 | 467 | 522
X22 | F3 | 194 | 256 | 204 | 242 | 235 | 177 | 160 | 201 | 238 | 247 | 179 | 239 | 208 | 248 | 207 | 164 | 473 | 500
X23 | G3 | 236 | 282 | 234 | 252 | 269 | 226 | 163 | 254 | 235 | 286 | 205 | 279 | 257 | 261 | 263 | 182 | 556 | 627
X24 | H3 | 185 | 235 | 166 | 222 | 190 | 174 | 126 | 137 | 204 | 232 | 191 | 180 | 220 | 234 | 155 | 151 | 393 | 433
X25 | A4 | 190 | 252 | 194 | 225 | 224 | 218 | 173 | 191 | 220 | 233 | 203 | 236 | 195 | 217 | 181 | 181 | 415 | 466
X26 | B4 | 188 | 218 | 155 | 252 | 209 | 181 | 152 | 145 | 221 | 257 | 177 | 209 | 222 | 231 | 193 | 148 | 458 | 485
X27 | C4 | 152 | 166 | 147 | 157 | 174 | 107 | 132 | 124 | 168 | 171 | 145 | 153 | 155 | 159 | 134 | 102 | 305 | 297
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration