## FI
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI
X1 | A1 | 17879 | 1418.5 | 19396.5 | 18801 | 23635 | 23944 | 23331 | 21992 | 20693 | 8325 | 5315.5 | 21249 | 18417 | 7638 | 23726 | 12528.5 | 28830 | 970 | 27860
X2 | B1 | 17035.5 | 346 | 7051 | 9203 | 16521.5 | 18809 | 17159 | 15580 | 13030 | 2187.5 | 1187 | 14800 | 10890 | 1601 | 20170 | 3472 | 27403 | 415 | 26988
X3 | C1 | 15614.5 | 186 | 2217.5 | 3154.5 | 7267.5 | 9498 | 7708 | 7231 | 5519 | 564 | 350.5 | 6215 | 4589.5 | 408 | 13564 | 917 | 18535.5 | 155 | 18380.5
X4 | D1 | 15758 | 231 | 179.5 | 414 | 242 | 333 | 113 | 207 | 81 | 286.5 | 264.5 | 398.5 | 1670 | 340 | 908.5 | 6420.5 | 1030 | 879.5 | 150.5 | 20
X5 | E1 | 14302 | 176 | 76 | 188 | 119 | 104.5 | 52.5 | 80 | 50 | 137 | 181 | 197.5 | 511 | 93 | 287 | 2075 | 317.5 | 324 | -6.5
X6 | F1 | 14012.5 | 139 | 58 | 113 | 59 | 49 | 32.5 | 41 | 32 | 60.5 | 128.5 | 85 | 119 | 36 | 101 | 460.5 | 106.5 | 124 | -17.5
X7 | A2 | 15700 | 365.5 | 2707 | 2206 | 6062 | 9590 | 13027 | 8278.5 | 8264 | 658 | 660 | 6488 | 4374.5 | 17065 | 13124 | 7122.5 | 13354.5 | 173 | 13181.5 | 5120
X8 | B2 | 15679 | 212 | 747.5 | 522 | 7060.5 | 12102.5 | 6176 | 4600 | 4438 | 232 | 246 | 4522.5 | 2728 | 7964 | 8139 | 2825 | 8607 | 79 | 8528
X9 | C2 | 14990 | 152 | 201 | 166 | 4185 | 8326.5 | 2069 | 1737.5 | 1560 | 77 | 144.5 | 1944 | 1222.5 | 2407.5 | 2701.5 | 992 | 3443 | 62.5 | 3380.5
X10 | D2 | 16139 | 175 | 81 | 232 | 207.5 | 484.5 | 375.5 | 313 | 120 | 511 | 208 | 518 | 423.5 | 776 | 1975 | 838 | 203 | 68.5 | 134.5 | 320
X11 | E2 | 14790 | 156 | 56 | 91 | 114 | 220 | 175 | 290.5 | 50.5 | 266 | 158 | 316 | 171 | 163 | 953 | 309 | 80 | 48.5 | 31.5
X12 | F2 | 14398.5 | 132 | 44.5 | 52.5 | 57 | 79 | 80.5 | 125 | 33 | 139.5 | 123 | 159 | 58 | 39.5 | 508 | 123 | 45 | 39 | 6
X13 | A3 | 16172.5 | 222 | 599 | 992 | 241 | 521 | 77.5 | 114.5 | 106 | 349 | 243.5 | 318.5 | 726.5 | 751 | 6962 | 626 | 2030 | 89 | 1941
X14 | B3 | 16120 | 158 | 169 | 388.5 | 119 | 153.5 | 42 | 65 | 54 | 160 | 158.5 | 153 | 282.5 | 183 | 2033 | 154 | 587 | 58 | 529
X15 | C3 | 14965 | 133 | 62 | 128 | 57 | 61 | 28 | 37 | 30 | 63 | 120 | 68 | 81 | 47 | 562.5 | 44 | 116 | 48 | 68
X16 | D3 | 15987 | 425.5 | 3558 | 5820.5 | 18964 | 19432 | 20113 | 22275 | 10519 | 892.5 | 733 | 12839 | 5871 | 8037.5 | 11983 | 13627 | 16537.5 | 287 | 16250.5 | 1280
X17 | E3 | 15045.5 | 242 | 1081 | 2076 | 17544 | 18613.5 | 13118 | 14578.5 | 5744 | 357 | 348.5 | 6303.5 | 3252.5 | 2954 | 4915 | 6610.5 | 9271 | 150 | 9121
X18 | F3 | 14438 | 159 | 282 | 537.5 | 12092 | 15059 | 5205 | 5799.5 | 2110 | 127 | 190.5 | 2228.5 | 1223 | 869.5 | 1398.5 | 2622 | 4409 | 92 | 4317
X19 | A4 | 14941.5 | 271 | 1001.5 | 462 | 728 | 523 | 103.5 | 202 | 131 | 396.5 | 324.5 | 495 | 3702 | 271.5 | 1517 | 201 | 1078 | 100.5 | 977.5 | 5120
X20 | B4 | 14027.5 | 183 | 258 | 167.5 | 221 | 137 | 43 | 76 | 52 | 151.5 | 184 | 200 | 1067.5 | 58 | 475 | 64 | 327 | 63 | 264
X21 | C4 | 13456.5 | 143 | 83.5 | 95 | 77 | 60 | 35.5 | 44.5 | 32 | 65 | 135 | 77.5 | 220 | 28 | 139.5 | 30 | 131 | 52 | 79
X22 | D4 | 14454.5 | 282 | 1088.5 | 485 | 652 | 534.5 | 96 | 178 | 126 | 427 | 326 | 444.5 | 4136 | 238.5 | 1365.5 | 219 | 981 | 111.5 | 869.5 | 1280
X23 | E4 | 14473 | 193 | 288 | 224 | 228 | 147 | 53 | 81 | 54 | 185 | 197 | 224 | 1231.5 | 54.5 | 485 | 71 | 371 | 73.5 | 297.5
X24 | F4 | 13189 | 143 | 94.5 | 111 | 76 | 56 | 30 | 42.5 | 31.5 | 74.5 | 135.5 | 83.5 | 260 | 28 | 154 | 34.5 | 102 | 52 | 50
X25 | A5 | 14453 | 256.5 | 378 | 704 | 274.5 | 943.5 | 167 | 492 | 147.5 | 269.5 | 229 | 397 | 2314.5 | 112 | 786 | 159 | 822 | 138 | 684 | 320
X26 | B5 | 14069.5 | 168.5 | 103 | 300.5 | 84 | 216 | 62 | 124 | 62 | 93 | 149 | 123 | 548 | 38 | 221 | 53 | 256 | 92 | 164
X27 | C5 | 13498 | 129.5 | 55 | 132 | 42 | 70 | 32 | 46.5 | 33 | 44 | 117 | 52 | 114 | 25 | 77.5 | 26 | 87 | 60 | 27
X28 | D5 | 15632.5 | 469 | 2044 | 480 | 1443 | 2171.5 | 125.5 | 284.5 | 171 | 872.5 | 647 | 846 | 1554 | 765 | 1514 | 2202 | 276 | 135 | 141 | 0
X29 | E5 | 15564 | 310.5 | 593.5 | 302 | 646 | 907 | 66.5 | 158 | 76 | 416 | 370 | 518 | 676 | 175 | 752.5 | 542 | 122 | 89.5 | 32.5
X30 | F5 | 13907 | 176 | 158 | 175 | 176 | 227.5 | 37 | 72.5 | 36 | 125 | 191 | 196.5 | 180.5 | 45 | 176 | 123 | 72 | 73 | -1
X31 | A6 | 16887 | 288 | 437 | 930 | 11315 | 12150 | 19117.5 | 9163 | 3203.5 | 868 | 434 | 4143 | 5161.5 | 70 | 3782.5 | 866 | 9686 | 128.5 | 9557.5 | 1280
X32 | B6 | 15841 | 185 | 143 | 343 | 3722 | 4422 | 14969 | 3424 | 841.5 | 295 | 207 | 1258 | 1702.5 | 31 | 1495 | 206.5 | 3640 | 76 | 3564
X33 | C6 | 14829 | 147 | 65.5 | 117 | 978 | 1165.5 | 6655.5 | 795 | 200 | 106 | 131 | 308 | 421.5 | 25 | 524 | 59.5 | 1140 | 54 | 1086
X34 | D6 | 341.5 | 117 | 42 | 22.5 | 28.5 | 34 | 19 | 24 | 22 | 30 | 100 | 22.5 | 11 | 22 | 35.5 | 20 | 30 | 29 | 1
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI
X1 | A1 | 17879,0 | 1418,5 | 19396,5 | 18801,0 | 23635,0 | 23944,0 | 23331,0 | 21992,0 | 20693,0 | 8325,0 | 5315,5 | 21249,0 | 18417,0 | 7638,0 | 23726,0 | 12528,5 | 28830,0 | 970,0
X2 | B1 | 17035,5 | 346,0 | 7051,0 | 9203,0 | 16521,5 | 18809,0 | 17159,0 | 15580,0 | 13030,0 | 2187,5 | 1187,0 | 14800,0 | 10890,0 | 1601,0 | 20170,0 | 3472,0 | 27403,0 | 415,0
X3 | C1 | 15614,5 | 186,0 | 2217,5 | 3154,5 | 7267,5 | 9498,0 | 7708,0 | 7231,0 | 5519,0 | 564,0 | 350,5 | 6215,0 | 4589,5 | 408,0 | 13564,0 | 917,0 | 18535,5 | 155,0
X4 | D1 | 15758,0 | 231,0 | 179,5 | 414,0 | 242,0 | 333,0 | 113,0 | 207,0 | 81,0 | 286,5 | 264,5 | 398,5 | 1670,0 | 340,0 | 908,5 | 6420,5 | 1030,0 | 879,5
X5 | E1 | 14302,0 | 176,0 | 76,0 | 188,0 | 119,0 | 104,5 | 52,5 | 80,0 | 50,0 | 137,0 | 181,0 | 197,5 | 511,0 | 93,0 | 287,0 | 2075,0 | 317,5 | 324,0
X6 | F1 | 14012,5 | 139,0 | 58,0 | 113,0 | 59,0 | 49,0 | 32,5 | 41,0 | 32,0 | 60,5 | 128,5 | 85,0 | 119,0 | 36,0 | 101,0 | 460,5 | 106,5 | 124,0
X7 | A2 | 15700,0 | 365,5 | 2707,0 | 2206,0 | 6062,0 | 9590,0 | 13027,0 | 8278,5 | 8264,0 | 658,0 | 660,0 | 6488,0 | 4374,5 | 17065,0 | 13124,0 | 7122,5 | 13354,5 | 173,0
X8 | B2 | 15679,0 | 212,0 | 747,5 | 522,0 | 7060,5 | 12102,5 | 6176,0 | 4600,0 | 4438,0 | 232,0 | 246,0 | 4522,5 | 2728,0 | 7964,0 | 8139,0 | 2825,0 | 8607,0 | 79,0
X9 | C2 | 14990,0 | 152,0 | 201,0 | 166,0 | 4185,0 | 8326,5 | 2069,0 | 1737,5 | 1560,0 | 77,0 | 144,5 | 1944,0 | 1222,5 | 2407,5 | 2701,5 | 992,0 | 3443,0 | 62,5
X10 | D2 | 16139,0 | 175,0 | 81,0 | 232,0 | 207,5 | 484,5 | 375,5 | 313,0 | 120,0 | 511,0 | 208,0 | 518,0 | 423,5 | 776,0 | 1975,0 | 838,0 | 203,0 | 68,5
X11 | E2 | 14790,0 | 156,0 | 56,0 | 91,0 | 114,0 | 220,0 | 175,0 | 290,5 | 50,5 | 266,0 | 158,0 | 316,0 | 171,0 | 163,0 | 953,0 | 309,0 | 80,0 | 48,5
X12 | F2 | 14398,5 | 132,0 | 44,5 | 52,5 | 57,0 | 79,0 | 80,5 | 125,0 | 33,0 | 139,5 | 123,0 | 159,0 | 58,0 | 39,5 | 508,0 | 123,0 | 45,0 | 39,0
X13 | A3 | 16172,5 | 222,0 | 599,0 | 992,0 | 241,0 | 521,0 | 77,5 | 114,5 | 106,0 | 349,0 | 243,5 | 318,5 | 726,5 | 751,0 | 6962,0 | 626,0 | 2030,0 | 89,0
X14 | B3 | 16120,0 | 158,0 | 169,0 | 388,5 | 119,0 | 153,5 | 42,0 | 65,0 | 54,0 | 160,0 | 158,5 | 153,0 | 282,5 | 183,0 | 2033,0 | 154,0 | 587,0 | 58,0
X15 | C3 | 14965,0 | 133,0 | 62,0 | 128,0 | 57,0 | 61,0 | 28,0 | 37,0 | 30,0 | 63,0 | 120,0 | 68,0 | 81,0 | 47,0 | 562,5 | 44,0 | 116,0 | 48,0
X16 | D3 | 15987,0 | 425,5 | 3558,0 | 5820,5 | 18964,0 | 19432,0 | 20113,0 | 22275,0 | 10519,0 | 892,5 | 733,0 | 12839,0 | 5871,0 | 8037,5 | 11983,0 | 13627,0 | 16537,5 | 287,0
X17 | E3 | 15045,5 | 242,0 | 1081,0 | 2076,0 | 17544,0 | 18613,5 | 13118,0 | 14578,5 | 5744,0 | 357,0 | 348,5 | 6303,5 | 3252,5 | 2954,0 | 4915,0 | 6610,5 | 9271,0 | 150,0
X18 | F3 | 14438,0 | 159,0 | 282,0 | 537,5 | 12092,0 | 15059,0 | 5205,0 | 5799,5 | 2110,0 | 127,0 | 190,5 | 2228,5 | 1223,0 | 869,5 | 1398,5 | 2622,0 | 4409,0 | 92,0
X19 | A4 | 14941,5 | 271,0 | 1001,5 | 462,0 | 728,0 | 523,0 | 103,5 | 202,0 | 131,0 | 396,5 | 324,5 | 495,0 | 3702,0 | 271,5 | 1517,0 | 201,0 | 1078,0 | 100,5
X20 | B4 | 14027,5 | 183,0 | 258,0 | 167,5 | 221,0 | 137,0 | 43,0 | 76,0 | 52,0 | 151,5 | 184,0 | 200,0 | 1067,5 | 58,0 | 475,0 | 64,0 | 327,0 | 63,0
X21 | C4 | 13456,5 | 143,0 | 83,5 | 95,0 | 77,0 | 60,0 | 35,5 | 44,5 | 32,0 | 65,0 | 135,0 | 77,5 | 220,0 | 28,0 | 139,5 | 30,0 | 131,0 | 52,0
X22 | D4 | 14454,5 | 282,0 | 1088,5 | 485,0 | 652,0 | 534,5 | 96,0 | 178,0 | 126,0 | 427,0 | 326,0 | 444,5 | 4136,0 | 238,5 | 1365,5 | 219,0 | 981,0 | 111,5
X23 | E4 | 14473,0 | 193,0 | 288,0 | 224,0 | 228,0 | 147,0 | 53,0 | 81,0 | 54,0 | 185,0 | 197,0 | 224,0 | 1231,5 | 54,5 | 485,0 | 71,0 | 371,0 | 73,5
X24 | F4 | 13189,0 | 143,0 | 94,5 | 111,0 | 76,0 | 56,0 | 30,0 | 42,5 | 31,5 | 74,5 | 135,5 | 83,5 | 260,0 | 28,0 | 154,0 | 34,5 | 102,0 | 52,0
X25 | A5 | 14453,0 | 256,5 | 378,0 | 704,0 | 274,5 | 943,5 | 167,0 | 492,0 | 147,5 | 269,5 | 229,0 | 397,0 | 2314,5 | 112,0 | 786,0 | 159,0 | 822,0 | 138,0
X26 | B5 | 14069,5 | 168,5 | 103,0 | 300,5 | 84,0 | 216,0 | 62,0 | 124,0 | 62,0 | 93,0 | 149,0 | 123,0 | 548,0 | 38,0 | 221,0 | 53,0 | 256,0 | 92,0
X27 | C5 | 13498,0 | 129,5 | 55,0 | 132,0 | 42,0 | 70,0 | 32,0 | 46,5 | 33,0 | 44,0 | 117,0 | 52,0 | 114,0 | 25,0 | 77,5 | 26,0 | 87,0 | 60,0
X28 | D5 | 15632,5 | 469,0 | 2044,0 | 480,0 | 1443,0 | 2171,5 | 125,5 | 284,5 | 171,0 | 872,5 | 647,0 | 846,0 | 1554,0 | 765,0 | 1514,0 | 2202,0 | 276,0 | 135,0
X29 | E5 | 15564,0 | 310,5 | 593,5 | 302,0 | 646,0 | 907,0 | 66,5 | 158,0 | 76,0 | 416,0 | 370,0 | 518,0 | 676,0 | 175,0 | 752,5 | 542,0 | 122,0 | 89,5
X30 | F5 | 13907,0 | 176,0 | 158,0 | 175,0 | 176,0 | 227,5 | 37,0 | 72,5 | 36,0 | 125,0 | 191,0 | 196,5 | 180,5 | 45,0 | 176,0 | 123,0 | 72,0 | 73,0
X31 | A6 | 16887,0 | 288,0 | 437,0 | 930,0 | 11315,0 | 12150,0 | 19117,5 | 9163,0 | 3203,5 | 868,0 | 434,0 | 4143,0 | 5161,5 | 70,0 | 3782,5 | 866,0 | 9686,0 | 128,5
X32 | B6 | 15841,0 | 185,0 | 143,0 | 343,0 | 3722,0 | 4422,0 | 14969,0 | 3424,0 | 841,5 | 295,0 | 207,0 | 1258,0 | 1702,5 | 31,0 | 1495,0 | 206,5 | 3640,0 | 76,0
X33 | C6 | 14829,0 | 147,0 | 65,5 | 117,0 | 978,0 | 1165,5 | 6655,5 | 795,0 | 200,0 | 106,0 | 131,0 | 308,0 | 421,5 | 25,0 | 524,0 | 59,5 | 1140,0 | 54,0
X34 | D6 | 341,5 | 117,0 | 42,0 | 22,5 | 28,5 | 34,0 | 19,0 | 24,0 | 22,0 | 30,0 | 100,0 | 22,5 | 11,0 | 22,0 | 35,5 | 20,0 | 30,0 | 29,0
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## FI - Bkgd
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd
X1 | A1 | 17879,0 | 1418,5 | 19396,5 | 18801,0 | 23635,0 | 23944,0 | 23331,0 | 21992,0 | 20693,0 | 8325,0 | 5315,5 | 21249,0 | 18417,0 | 7638,0 | 23726,0 | 12528,5 | 28830,0 | 970,0
X2 | B1 | 17035,5 | 346,0 | 7051,0 | 9203,0 | 16521,5 | 18809,0 | 17159,0 | 15580,0 | 13030,0 | 2187,5 | 1187,0 | 14800,0 | 10890,0 | 1601,0 | 20170,0 | 3472,0 | 27403,0 | 415,0
X3 | C1 | 15614,5 | 186,0 | 2217,5 | 3154,5 | 7267,5 | 9498,0 | 7708,0 | 7231,0 | 5519,0 | 564,0 | 350,5 | 6215,0 | 4589,5 | 408,0 | 13564,0 | 917,0 | 18535,5 | 155,0
X4 | D1 | 15758,0 | 231,0 | 179,5 | 414,0 | 242,0 | 333,0 | 113,0 | 207,0 | 81,0 | 286,5 | 264,5 | 398,5 | 1670,0 | 340,0 | 908,5 | 6420,5 | 1030,0 | 879,5
X5 | E1 | 14302,0 | 176,0 | 76,0 | 188,0 | 119,0 | 104,5 | 52,5 | 80,0 | 50,0 | 137,0 | 181,0 | 197,5 | 511,0 | 93,0 | 287,0 | 2075,0 | 317,5 | 324,0
X6 | F1 | 14012,5 | 139,0 | 58,0 | 113,0 | 59,0 | 49,0 | 32,5 | 41,0 | 32,0 | 60,5 | 128,5 | 85,0 | 119,0 | 36,0 | 101,0 | 460,5 | 106,5 | 124,0
X7 | A2 | 15700,0 | 365,5 | 2707,0 | 2206,0 | 6062,0 | 9590,0 | 13027,0 | 8278,5 | 8264,0 | 658,0 | 660,0 | 6488,0 | 4374,5 | 17065,0 | 13124,0 | 7122,5 | 13354,5 | 173,0
X8 | B2 | 15679,0 | 212,0 | 747,5 | 522,0 | 7060,5 | 12102,5 | 6176,0 | 4600,0 | 4438,0 | 232,0 | 246,0 | 4522,5 | 2728,0 | 7964,0 | 8139,0 | 2825,0 | 8607,0 | 79,0
X9 | C2 | 14990,0 | 152,0 | 201,0 | 166,0 | 4185,0 | 8326,5 | 2069,0 | 1737,5 | 1560,0 | 77,0 | 144,5 | 1944,0 | 1222,5 | 2407,5 | 2701,5 | 992,0 | 3443,0 | 62,5
X10 | D2 | 16139,0 | 175,0 | 81,0 | 232,0 | 207,5 | 484,5 | 375,5 | 313,0 | 120,0 | 511,0 | 208,0 | 518,0 | 423,5 | 776,0 | 1975,0 | 838,0 | 203,0 | 68,5
X11 | E2 | 14790,0 | 156,0 | 56,0 | 91,0 | 114,0 | 220,0 | 175,0 | 290,5 | 50,5 | 266,0 | 158,0 | 316,0 | 171,0 | 163,0 | 953,0 | 309,0 | 80,0 | 48,5
X12 | F2 | 14398,5 | 132,0 | 44,5 | 52,5 | 57,0 | 79,0 | 80,5 | 125,0 | 33,0 | 139,5 | 123,0 | 159,0 | 58,0 | 39,5 | 508,0 | 123,0 | 45,0 | 39,0
X13 | A3 | 16172,5 | 222,0 | 599,0 | 992,0 | 241,0 | 521,0 | 77,5 | 114,5 | 106,0 | 349,0 | 243,5 | 318,5 | 726,5 | 751,0 | 6962,0 | 626,0 | 2030,0 | 89,0
X14 | B3 | 16120,0 | 158,0 | 169,0 | 388,5 | 119,0 | 153,5 | 42,0 | 65,0 | 54,0 | 160,0 | 158,5 | 153,0 | 282,5 | 183,0 | 2033,0 | 154,0 | 587,0 | 58,0
X15 | C3 | 14965,0 | 133,0 | 62,0 | 128,0 | 57,0 | 61,0 | 28,0 | 37,0 | 30,0 | 63,0 | 120,0 | 68,0 | 81,0 | 47,0 | 562,5 | 44,0 | 116,0 | 48,0
X16 | D3 | 15987,0 | 425,5 | 3558,0 | 5820,5 | 18964,0 | 19432,0 | 20113,0 | 22275,0 | 10519,0 | 892,5 | 733,0 | 12839,0 | 5871,0 | 8037,5 | 11983,0 | 13627,0 | 16537,5 | 287,0
X17 | E3 | 15045,5 | 242,0 | 1081,0 | 2076,0 | 17544,0 | 18613,5 | 13118,0 | 14578,5 | 5744,0 | 357,0 | 348,5 | 6303,5 | 3252,5 | 2954,0 | 4915,0 | 6610,5 | 9271,0 | 150,0
X18 | F3 | 14438,0 | 159,0 | 282,0 | 537,5 | 12092,0 | 15059,0 | 5205,0 | 5799,5 | 2110,0 | 127,0 | 190,5 | 2228,5 | 1223,0 | 869,5 | 1398,5 | 2622,0 | 4409,0 | 92,0
X19 | A4 | 14941,5 | 271,0 | 1001,5 | 462,0 | 728,0 | 523,0 | 103,5 | 202,0 | 131,0 | 396,5 | 324,5 | 495,0 | 3702,0 | 271,5 | 1517,0 | 201,0 | 1078,0 | 100,5
X20 | B4 | 14027,5 | 183,0 | 258,0 | 167,5 | 221,0 | 137,0 | 43,0 | 76,0 | 52,0 | 151,5 | 184,0 | 200,0 | 1067,5 | 58,0 | 475,0 | 64,0 | 327,0 | 63,0
X21 | C4 | 13456,5 | 143,0 | 83,5 | 95,0 | 77,0 | 60,0 | 35,5 | 44,5 | 32,0 | 65,0 | 135,0 | 77,5 | 220,0 | 28,0 | 139,5 | 30,0 | 131,0 | 52,0
X22 | D4 | 14454,5 | 282,0 | 1088,5 | 485,0 | 652,0 | 534,5 | 96,0 | 178,0 | 126,0 | 427,0 | 326,0 | 444,5 | 4136,0 | 238,5 | 1365,5 | 219,0 | 981,0 | 111,5
X23 | E4 | 14473,0 | 193,0 | 288,0 | 224,0 | 228,0 | 147,0 | 53,0 | 81,0 | 54,0 | 185,0 | 197,0 | 224,0 | 1231,5 | 54,5 | 485,0 | 71,0 | 371,0 | 73,5
X24 | F4 | 13189,0 | 143,0 | 94,5 | 111,0 | 76,0 | 56,0 | 30,0 | 42,5 | 31,5 | 74,5 | 135,5 | 83,5 | 260,0 | 28,0 | 154,0 | 34,5 | 102,0 | 52,0
X25 | A5 | 14453,0 | 256,5 | 378,0 | 704,0 | 274,5 | 943,5 | 167,0 | 492,0 | 147,5 | 269,5 | 229,0 | 397,0 | 2314,5 | 112,0 | 786,0 | 159,0 | 822,0 | 138,0
X26 | B5 | 14069,5 | 168,5 | 103,0 | 300,5 | 84,0 | 216,0 | 62,0 | 124,0 | 62,0 | 93,0 | 149,0 | 123,0 | 548,0 | 38,0 | 221,0 | 53,0 | 256,0 | 92,0
X27 | C5 | 13498,0 | 129,5 | 55,0 | 132,0 | 42,0 | 70,0 | 32,0 | 46,5 | 33,0 | 44,0 | 117,0 | 52,0 | 114,0 | 25,0 | 77,5 | 26,0 | 87,0 | 60,0
X28 | D5 | 15632,5 | 469,0 | 2044,0 | 480,0 | 1443,0 | 2171,5 | 125,5 | 284,5 | 171,0 | 872,5 | 647,0 | 846,0 | 1554,0 | 765,0 | 1514,0 | 2202,0 | 276,0 | 135,0
X29 | E5 | 15564,0 | 310,5 | 593,5 | 302,0 | 646,0 | 907,0 | 66,5 | 158,0 | 76,0 | 416,0 | 370,0 | 518,0 | 676,0 | 175,0 | 752,5 | 542,0 | 122,0 | 89,5
X30 | F5 | 13907,0 | 176,0 | 158,0 | 175,0 | 176,0 | 227,5 | 37,0 | 72,5 | 36,0 | 125,0 | 191,0 | 196,5 | 180,5 | 45,0 | 176,0 | 123,0 | 72,0 | 73,0
X31 | A6 | 16887,0 | 288,0 | 437,0 | 930,0 | 11315,0 | 12150,0 | 19117,5 | 9163,0 | 3203,5 | 868,0 | 434,0 | 4143,0 | 5161,5 | 70,0 | 3782,5 | 866,0 | 9686,0 | 128,5
X32 | B6 | 15841,0 | 185,0 | 143,0 | 343,0 | 3722,0 | 4422,0 | 14969,0 | 3424,0 | 841,5 | 295,0 | 207,0 | 1258,0 | 1702,5 | 31,0 | 1495,0 | 206,5 | 3640,0 | 76,0
X33 | C6 | 14829,0 | 147,0 | 65,5 | 117,0 | 978,0 | 1165,5 | 6655,5 | 795,0 | 200,0 | 106,0 | 131,0 | 308,0 | 421,5 | 25,0 | 524,0 | 59,5 | 1140,0 | 54,0
X34 | D6 | 341,5 | 117,0 | 42,0 | 22,5 | 28,5 | 34,0 | 19,0 | 24,0 | 22,0 | 30,0 | 100,0 | 22,5 | 11,0 | 22,0 | 35,5 | 20,0 | 30,0 | 29,0
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd
X1 | A1 | 17879,0 | 1418,5 | 19396,5 | 18801,0 | 23635,0 | 23944,0 | 23331,0 | 21992,0 | 20693,0 | 8325,0 | 5315,5 | 21249,0 | 18417,0 | 7638,0 | 23726,0 | 12528,5 | 28830,0 | 970,0
X2 | B1 | 17035,5 | 346,0 | 7051,0 | 9203,0 | 16521,5 | 18809,0 | 17159,0 | 15580,0 | 13030,0 | 2187,5 | 1187,0 | 14800,0 | 10890,0 | 1601,0 | 20170,0 | 3472,0 | 27403,0 | 415,0
X3 | C1 | 15614,5 | 186,0 | 2217,5 | 3154,5 | 7267,5 | 9498,0 | 7708,0 | 7231,0 | 5519,0 | 564,0 | 350,5 | 6215,0 | 4589,5 | 408,0 | 13564,0 | 917,0 | 18535,5 | 155,0
X4 | D1 | 15758,0 | 231,0 | 179,5 | 414,0 | 242,0 | 333,0 | 113,0 | 207,0 | 81,0 | 286,5 | 264,5 | 398,5 | 1670,0 | 340,0 | 908,5 | 6420,5 | 1030,0 | 879,5
X5 | E1 | 14302,0 | 176,0 | 76,0 | 188,0 | 119,0 | 104,5 | 52,5 | 80,0 | 50,0 | 137,0 | 181,0 | 197,5 | 511,0 | 93,0 | 287,0 | 2075,0 | 317,5 | 324,0
X6 | F1 | 14012,5 | 139,0 | 58,0 | 113,0 | 59,0 | 49,0 | 32,5 | 41,0 | 32,0 | 60,5 | 128,5 | 85,0 | 119,0 | 36,0 | 101,0 | 460,5 | 106,5 | 124,0
X7 | A2 | 15700,0 | 365,5 | 2707,0 | 2206,0 | 6062,0 | 9590,0 | 13027,0 | 8278,5 | 8264,0 | 658,0 | 660,0 | 6488,0 | 4374,5 | 17065,0 | 13124,0 | 7122,5 | 13354,5 | 173,0
X8 | B2 | 15679,0 | 212,0 | 747,5 | 522,0 | 7060,5 | 12102,5 | 6176,0 | 4600,0 | 4438,0 | 232,0 | 246,0 | 4522,5 | 2728,0 | 7964,0 | 8139,0 | 2825,0 | 8607,0 | 79,0
X9 | C2 | 14990,0 | 152,0 | 201,0 | 166,0 | 4185,0 | 8326,5 | 2069,0 | 1737,5 | 1560,0 | 77,0 | 144,5 | 1944,0 | 1222,5 | 2407,5 | 2701,5 | 992,0 | 3443,0 | 62,5
X10 | D2 | 16139,0 | 175,0 | 81,0 | 232,0 | 207,5 | 484,5 | 375,5 | 313,0 | 120,0 | 511,0 | 208,0 | 518,0 | 423,5 | 776,0 | 1975,0 | 838,0 | 203,0 | 68,5
X11 | E2 | 14790,0 | 156,0 | 56,0 | 91,0 | 114,0 | 220,0 | 175,0 | 290,5 | 50,5 | 266,0 | 158,0 | 316,0 | 171,0 | 163,0 | 953,0 | 309,0 | 80,0 | 48,5
X12 | F2 | 14398,5 | 132,0 | 44,5 | 52,5 | 57,0 | 79,0 | 80,5 | 125,0 | 33,0 | 139,5 | 123,0 | 159,0 | 58,0 | 39,5 | 508,0 | 123,0 | 45,0 | 39,0
X13 | A3 | 16172,5 | 222,0 | 599,0 | 992,0 | 241,0 | 521,0 | 77,5 | 114,5 | 106,0 | 349,0 | 243,5 | 318,5 | 726,5 | 751,0 | 6962,0 | 626,0 | 2030,0 | 89,0
X14 | B3 | 16120,0 | 158,0 | 169,0 | 388,5 | 119,0 | 153,5 | 42,0 | 65,0 | 54,0 | 160,0 | 158,5 | 153,0 | 282,5 | 183,0 | 2033,0 | 154,0 | 587,0 | 58,0
X15 | C3 | 14965,0 | 133,0 | 62,0 | 128,0 | 57,0 | 61,0 | 28,0 | 37,0 | 30,0 | 63,0 | 120,0 | 68,0 | 81,0 | 47,0 | 562,5 | 44,0 | 116,0 | 48,0
X16 | D3 | 15987,0 | 425,5 | 3558,0 | 5820,5 | 18964,0 | 19432,0 | 20113,0 | 22275,0 | 10519,0 | 892,5 | 733,0 | 12839,0 | 5871,0 | 8037,5 | 11983,0 | 13627,0 | 16537,5 | 287,0
X17 | E3 | 15045,5 | 242,0 | 1081,0 | 2076,0 | 17544,0 | 18613,5 | 13118,0 | 14578,5 | 5744,0 | 357,0 | 348,5 | 6303,5 | 3252,5 | 2954,0 | 4915,0 | 6610,5 | 9271,0 | 150,0
X18 | F3 | 14438,0 | 159,0 | 282,0 | 537,5 | 12092,0 | 15059,0 | 5205,0 | 5799,5 | 2110,0 | 127,0 | 190,5 | 2228,5 | 1223,0 | 869,5 | 1398,5 | 2622,0 | 4409,0 | 92,0
X19 | A4 | 14941,5 | 271,0 | 1001,5 | 462,0 | 728,0 | 523,0 | 103,5 | 202,0 | 131,0 | 396,5 | 324,5 | 495,0 | 3702,0 | 271,5 | 1517,0 | 201,0 | 1078,0 | 100,5
X20 | B4 | 14027,5 | 183,0 | 258,0 | 167,5 | 221,0 | 137,0 | 43,0 | 76,0 | 52,0 | 151,5 | 184,0 | 200,0 | 1067,5 | 58,0 | 475,0 | 64,0 | 327,0 | 63,0
X21 | C4 | 13456,5 | 143,0 | 83,5 | 95,0 | 77,0 | 60,0 | 35,5 | 44,5 | 32,0 | 65,0 | 135,0 | 77,5 | 220,0 | 28,0 | 139,5 | 30,0 | 131,0 | 52,0
X22 | D4 | 14454,5 | 282,0 | 1088,5 | 485,0 | 652,0 | 534,5 | 96,0 | 178,0 | 126,0 | 427,0 | 326,0 | 444,5 | 4136,0 | 238,5 | 1365,5 | 219,0 | 981,0 | 111,5
X23 | E4 | 14473,0 | 193,0 | 288,0 | 224,0 | 228,0 | 147,0 | 53,0 | 81,0 | 54,0 | 185,0 | 197,0 | 224,0 | 1231,5 | 54,5 | 485,0 | 71,0 | 371,0 | 73,5
X24 | F4 | 13189,0 | 143,0 | 94,5 | 111,0 | 76,0 | 56,0 | 30,0 | 42,5 | 31,5 | 74,5 | 135,5 | 83,5 | 260,0 | 28,0 | 154,0 | 34,5 | 102,0 | 52,0
X25 | A5 | 14453,0 | 256,5 | 378,0 | 704,0 | 274,5 | 943,5 | 167,0 | 492,0 | 147,5 | 269,5 | 229,0 | 397,0 | 2314,5 | 112,0 | 786,0 | 159,0 | 822,0 | 138,0
X26 | B5 | 14069,5 | 168,5 | 103,0 | 300,5 | 84,0 | 216,0 | 62,0 | 124,0 | 62,0 | 93,0 | 149,0 | 123,0 | 548,0 | 38,0 | 221,0 | 53,0 | 256,0 | 92,0
X27 | C5 | 13498,0 | 129,5 | 55,0 | 132,0 | 42,0 | 70,0 | 32,0 | 46,5 | 33,0 | 44,0 | 117,0 | 52,0 | 114,0 | 25,0 | 77,5 | 26,0 | 87,0 | 60,0
X28 | D5 | 15632,5 | 469,0 | 2044,0 | 480,0 | 1443,0 | 2171,5 | 125,5 | 284,5 | 171,0 | 872,5 | 647,0 | 846,0 | 1554,0 | 765,0 | 1514,0 | 2202,0 | 276,0 | 135,0
X29 | E5 | 15564,0 | 310,5 | 593,5 | 302,0 | 646,0 | 907,0 | 66,5 | 158,0 | 76,0 | 416,0 | 370,0 | 518,0 | 676,0 | 175,0 | 752,5 | 542,0 | 122,0 | 89,5
X30 | F5 | 13907,0 | 176,0 | 158,0 | 175,0 | 176,0 | 227,5 | 37,0 | 72,5 | 36,0 | 125,0 | 191,0 | 196,5 | 180,5 | 45,0 | 176,0 | 123,0 | 72,0 | 73,0
X31 | A6 | 16887,0 | 288,0 | 437,0 | 930,0 | 11315,0 | 12150,0 | 19117,5 | 9163,0 | 3203,5 | 868,0 | 434,0 | 4143,0 | 5161,5 | 70,0 | 3782,5 | 866,0 | 9686,0 | 128,5
X32 | B6 | 15841,0 | 185,0 | 143,0 | 343,0 | 3722,0 | 4422,0 | 14969,0 | 3424,0 | 841,5 | 295,0 | 207,0 | 1258,0 | 1702,5 | 31,0 | 1495,0 | 206,5 | 3640,0 | 76,0
X33 | C6 | 14829,0 | 147,0 | 65,5 | 117,0 | 978,0 | 1165,5 | 6655,5 | 795,0 | 200,0 | 106,0 | 131,0 | 308,0 | 421,5 | 25,0 | 524,0 | 59,5 | 1140,0 | 54,0
X34 | D6 | 341,5 | 117,0 | 42,0 | 22,5 | 28,5 | 34,0 | 19,0 | 24,0 | 22,0 | 30,0 | 100,0 | 22,5 | 11,0 | 22,0 | 35,5 | 20,0 | 30,0 | 29,0
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Std Dev
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev
X1 | A1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X2 | B1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X3 | C1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X4 | D1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X5 | E1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X6 | F1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X7 | A2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X8 | B2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X9 | C2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X10 | D2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X11 | E2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X12 | F2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X13 | A3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X14 | B3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X15 | C3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X16 | D3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X17 | E3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X18 | F3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X19 | A4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X20 | B4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X21 | C4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X22 | D4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X23 | E4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X24 | F4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X25 | A5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X26 | B5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X27 | C5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X28 | D5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X29 | E5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X30 | F5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X31 | A6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X32 | B6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X33 | C6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X34 | D6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## %CV
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV
X1 | A1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X2 | B1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X3 | C1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X4 | D1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X5 | E1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X6 | F1 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X7 | A2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X8 | B2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X9 | C2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X10 | D2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X11 | E2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X12 | F2 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X13 | A3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X14 | B3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X15 | C3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X16 | D3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X17 | E3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X18 | F3 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X19 | A4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X20 | B4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X21 | C4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X22 | D4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X23 | E4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X24 | F4 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X25 | A5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X26 | B5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X27 | C5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X28 | D5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X29 | E5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X30 | F5 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X31 | A6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X32 | B6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X33 | C6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
X34 | D6 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Conc in Range
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Obs Conc
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc
X1 | A1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X2 | B1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X3 | C1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X4 | D1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X5 | E1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X6 | F1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X7 | A2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X8 | B2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X9 | C2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X10 | D2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X11 | E2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X12 | F2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X13 | A3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X14 | B3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X15 | C3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X16 | D3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X17 | E3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X18 | F3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X19 | A4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X20 | B4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X21 | C4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X22 | D4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X23 | E4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X24 | F4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X25 | A5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X26 | B5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X27 | C5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X28 | D5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X29 | E5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X30 | F5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X31 | A6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X32 | B6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X33 | C6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X34 | D6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc
X1 | A1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X2 | B1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X3 | C1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X4 | D1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X5 | E1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X6 | F1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X7 | A2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X8 | B2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X9 | C2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X10 | D2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X11 | E2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X12 | F2 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X13 | A3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X14 | B3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X15 | C3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X16 | D3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X17 | E3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X18 | F3 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X19 | A4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X20 | B4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X21 | C4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X22 | D4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X23 | E4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X24 | F4 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X25 | A5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X26 | B5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X27 | C5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X28 | D5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X29 | E5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X30 | F5 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X31 | A6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X32 | B6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X33 | C6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
X34 | D6 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Exp Conc
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## (Obs Exp) X 100
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Dilution
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution
X1 | A1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X2 | B1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X3 | C1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X4 | D1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X5 | E1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X6 | F1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X7 | A2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X8 | B2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X9 | C2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X10 | D2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X11 | E2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X12 | F2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X13 | A3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X14 | B3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X15 | C3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X16 | D3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X17 | E3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X18 | F3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X19 | A4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X20 | B4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X21 | C4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X22 | D4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X23 | E4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X24 | F4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X25 | A5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X26 | B5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X27 | C5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X28 | D5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X29 | E5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X30 | F5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X31 | A6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X32 | B6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X33 | C6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X34 | D6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution
X1 | A1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X2 | B1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X3 | C1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X4 | D1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X5 | E1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X6 | F1 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X7 | A2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X8 | B2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X9 | C2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X10 | D2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X11 | E2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X12 | F2 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X13 | A3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X14 | B3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X15 | C3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X16 | D3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X17 | E3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X18 | F3 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X19 | A4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X20 | B4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X21 | C4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X22 | D4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X23 | E4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X24 | F4 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X25 | A5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X26 | B5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X27 | C5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X28 | D5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X29 | E5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X30 | F5 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X31 | A6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X32 | B6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X33 | C6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
X34 | D6 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00 | 1,00
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Bead Count
File Name: S:\Laborgeraete\ZBS3\Bioplex\Pox\Pox09 Ladungskontrolle 07.10.22.rbx
Acquisition Date: 07-Okt-2022, 02:38
Reader Serial Number: LX10013091402
Plate ID:
RP1 PMT (Volts): 541,15
RP1 Target: 3631
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count
X1 | A1
X2 | B1
X3 | C1
X4 | D1
X5 | E1
X6 | F1
X7 | A2
X8 | B2
X9 | C2
X10 | D2
X11 | E2
X12 | F2
X13 | A3
X14 | B3
X15 | C3
X16 | D3
X17 | E3
X18 | F3
X19 | A4
X20 | B4
X21 | C4
X22 | D4
X23 | E4
X24 | F4
X25 | A5
X26 | B5
X27 | C5
X28 | D5
X29 | E5
X30 | F5
X31 | A6
X32 | B6
X33 | C6
X34 | D6
|  | ahIgG (20) | HSA (8) | A29 (55) | A27L (89) | A35R (81) | A33R (33) | B6 (42) | B5R (26) | E8 (52) | M1 (36) | L1R (15) | D8L (7) | H3L (59) | ATI-C (82) | ATI-N (38) | A5L (54) | VACV (48) | Hep2 (67)
Type | Well | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count | Bead Count
X1 | A1 | 66 | 58 | 38 | 59 | 51 | 42 | 43 | 41 | 61 | 41 | 46 | 75 | 41 | 41 | 43 | 30 | 45 | 64
X2 | B1 | 86 | 80 | 74 | 74 | 68 | 58 | 59 | 65 | 75 | 70 | 63 | 62 | 74 | 76 | 63 | 50 | 65 | 88
X3 | C1 | 62 | 88 | 50 | 70 | 86 | 61 | 55 | 73 | 80 | 67 | 74 | 61 | 66 | 101 | 70 | 53 | 98 | 105
X4 | D1 | 73 | 75 | 68 | 93 | 72 | 77 | 59 | 68 | 79 | 88 | 76 | 98 | 75 | 83 | 80 | 50 | 100 | 100
X5 | E1 | 63 | 67 | 55 | 67 | 90 | 66 | 50 | 56 | 78 | 83 | 59 | 80 | 76 | 74 | 63 | 58 | 90 | 100
X6 | F1 | 60 | 93 | 62 | 88 | 67 | 79 | 50 | 62 | 69 | 78 | 56 | 81 | 72 | 76 | 87 | 54 | 80 | 101
X7 | A2 | 71 | 86 | 59 | 73 | 77 | 75 | 59 | 50 | 75 | 59 | 69 | 88 | 64 | 59 | 85 | 76 | 74 | 92
X8 | B2 | 73 | 68 | 56 | 53 | 66 | 56 | 57 | 52 | 71 | 76 | 50 | 50 | 60 | 67 | 50 | 57 | 67 | 91
X9 | C2 | 57 | 86 | 65 | 71 | 60 | 62 | 56 | 60 | 59 | 75 | 50 | 71 | 76 | 80 | 62 | 57 | 73 | 80
X10 | D2 | 72 | 88 | 67 | 63 | 78 | 56 | 50 | 61 | 61 | 51 | 67 | 83 | 60 | 64 | 51 | 63 | 55 | 86
X11 | E2 | 57 | 53 | 61 | 73 | 56 | 60 | 52 | 66 | 72 | 60 | 64 | 56 | 73 | 79 | 50 | 58 | 72 | 76
X12 | F2 | 76 | 85 | 58 | 88 | 66 | 50 | 50 | 67 | 79 | 84 | 87 | 71 | 64 | 74 | 65 | 71 | 77 | 89
X13 | A3 | 60 | 91 | 57 | 73 | 71 | 67 | 62 | 66 | 71 | 76 | 66 | 82 | 56 | 54 | 85 | 50 | 73 | 103
X14 | B3 | 75 | 74 | 62 | 72 | 77 | 72 | 55 | 63 | 74 | 103 | 50 | 91 | 72 | 79 | 76 | 55 | 67 | 116
X15 | C3 | 80 | 90 | 74 | 75 | 66 | 66 | 61 | 71 | 102 | 82 | 73 | 67 | 85 | 79 | 50 | 67 | 89 | 90
X16 | D3 | 58 | 74 | 59 | 82 | 59 | 68 | 53 | 66 | 59 | 52 | 62 | 51 | 57 | 62 | 78 | 50 | 60 | 77
X17 | E3 | 70 | 88 | 73 | 69 | 79 | 66 | 55 | 54 | 66 | 83 | 74 | 72 | 70 | 69 | 63 | 50 | 80 | 111
X18 | F3 | 73 | 76 | 69 | 54 | 82 | 71 | 62 | 70 | 57 | 71 | 76 | 50 | 67 | 74 | 76 | 58 | 87 | 103
X19 | A4 | 66 | 70 | 70 | 75 | 77 | 53 | 52 | 55 | 59 | 70 | 76 | 69 | 50 | 102 | 60 | 53 | 97 | 88
X20 | B4 | 62 | 82 | 69 | 74 | 91 | 89 | 50 | 72 | 94 | 88 | 87 | 67 | 74 | 92 | 58 | 51 | 80 | 94
X21 | C4 | 60 | 105 | 68 | 97 | 87 | 88 | 50 | 62 | 96 | 109 | 92 | 54 | 69 | 97 | 60 | 50 | 93 | 96
X22 | D4 | 52 | 64 | 56 | 69 | 67 | 68 | 59 | 61 | 59 | 51 | 59 | 72 | 67 | 50 | 52 | 69 | 67 | 78
X23 | E4 | 63 | 71 | 52 | 80 | 68 | 67 | 55 | 50 | 89 | 74 | 58 | 55 | 66 | 80 | 67 | 57 | 80 | 96
X24 | F4 | 59 | 74 | 66 | 81 | 65 | 69 | 58 | 54 | 84 | 98 | 68 | 50 | 81 | 81 | 71 | 60 | 65 | 83
X25 | A5 | 70 | 90 | 55 | 85 | 88 | 56 | 61 | 50 | 92 | 76 | 75 | 67 | 78 | 92 | 75 | 82 | 67 | 100
X26 | B5 | 80 | 116 | 71 | 90 | 94 | 71 | 50 | 72 | 87 | 91 | 70 | 63 | 79 | 96 | 69 | 70 | 114 | 109
X27 | C5 | 93 | 106 | 83 | 97 | 101 | 70 | 53 | 52 | 110 | 123 | 104 | 61 | 117 | 103 | 54 | 50 | 127 | 146
X28 | D5 | 66 | 87 | 54 | 74 | 79 | 86 | 50 | 66 | 72 | 70 | 61 | 80 | 65 | 75 | 89 | 55 | 81 | 91
X29 | E5 | 59 | 88 | 64 | 68 | 71 | 71 | 50 | 50 | 72 | 69 | 59 | 62 | 59 | 67 | 60 | 53 | 67 | 86
X30 | F5 | 71 | 85 | 71 | 81 | 83 | 74 | 68 | 60 | 93 | 97 | 75 | 76 | 94 | 68 | 77 | 50 | 93 | 101
X31 | A6 | 79 | 83 | 76 | 87 | 81 | 77 | 50 | 74 | 72 | 87 | 65 | 81 | 56 | 81 | 76 | 76 | 85 | 84
X32 | B6 | 89 | 87 | 64 | 77 | 83 | 71 | 63 | 61 | 78 | 71 | 81 | 66 | 68 | 97 | 75 | 50 | 95 | 101
X33 | C6 | 93 | 104 | 76 | 88 | 87 | 68 | 50 | 55 | 104 | 99 | 77 | 87 | 86 | 113 | 58 | 60 | 109 | 153
X34 | D6 | 92 | 139 | 83 | 108 | 106 | 69 | 59 | 51 | 122 | 140 | 116 | 50 | 109 | 150 | 56 | 50 | 139 | 163
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration